## Slide 1: INTELLIGENT REACTIVE ENERGY MANAGEMENT FOR INDUSTRIAL AND POWER GRID EFFICIENCY
398
SIKKANTHAR MYDEEN.R
ELECTRICAL & ELECTRONICS ENGINEERING COLLEGE
P.S.R.ENGINEERING COLLEGE

## Slide 2: ABSTRACT
The primary abstract is APFC enhance the power factor of the electrical system.
Improved power factor reduces stress on electrical equipment with maintaining voltage levels and ensuring system stability.
To utilizing power more effectively and reducing wasteful consumption of reactive power.

## Slide 3: INTRODUCTION
Intelligent management of reactive power in both industrial and power grid operations to presented by maintaining voltage level, system stability and reliability.
Inefficient management of reactive power, such as increased energy losses, decreased system reliability, and higher operational costs

## Slide 4: LITERATURE SURVEY
X. Wang, T. Zhao, and A. Parisio's research on “Frequency regulation and congestion management by virtual storage plants”
K. Qu, X. Zheng, X. Li, C. Lv, and T. Yu's work on “ Realtime power dispatch with wind uncertainty using difference-of-convexity optimization”
V. K. Prajapati and V. Mahajan's study on “Demand response based congestion management of power system with uncertain renewable resources”
A. Agrawal, S. N. Pandey, L. Srivastava, P. Walde, S. Singh, B. Khan, and R. K. Saket's research on “Hybrid deep neural network-based generation in power management ”

## Slide 5: PROPOSED METHODOLOGY
Developing a model of the industrial or power grid system within MATLAB/Simulink to major components such as power grid, capacitor load, APFC and other reactive power sources.
Integrate real-time monitoring and data acquisition functionalities with Design intelligent control algorithms manage reactive power flow in the system.
To measure by waveform’s & range’s in V rms, I rms, real power, reactive power & power factor

## Slide 6: PROPOSED METHODOLOGY
APFC
POWER SUPPLY
3 PHASE SUPPLY
CAPACITOR BANK
MICRO CONTROLLER UNIT (ARUINO_UNO)
INDUCTIVE LOAD

## Slide 7: PROPOSED METHODOLOGY
APFC ALGORITHM
function[cb_1,cb_2,cb_3]=ARDUINO_UNO(PF_VALUE)
if
(PF_VALUE<=0.60)
cb_1=1;cb_2=0; cb_3=0;
elseif
(PF_VALUE<=0.75)
cb_1=0;cb_2=1; cb_3=0;
elseif
(PF_VALUE<=0.85)
cb_1=0;cb_2=0; cb_3=1;
else
cb_1=0; cb_2=0; cb_3=0;
end

## Slide 8: RESULTS AND DISCUSSION

## Slide 9: RESULTS AND DISCUSSION

## Slide 10: RESULTS AND DISCUSSION

## Slide 11: RESULTS AND DISCUSSION
SNO | REAL POWER | REACTIVE POWER | POWER FACTOR | CAPACITOR CB1 CB2 CB3 |  | 
1 | 9936 | 6955 | 0.81 | 0 | 0 | 1
2 | 29510 | 37407 | 0.61 | 0 | 1 | 0
3 | 39580 | 35612 | 0.74 | 0 | 1 | 0
4 | 39450 | 57698 | 0.56 | 1 | 0 | 0
5 | 39430 | 62588 | 0.53 | 1 | 0 | 0

## Slide 12: CONCLUSION
Efficiency enhancement in IREM systems promise to reactive power flow dynamically and peak efficiency with minimizing losses in power systems.
Industrial benefits of IREM within industrial facilities reduces energy consumption, equipment lifespan and productivity.
Power grid benefits in IREM with improving voltage stability, reduced transmission losses, & energy efficiency with reliability.

## Slide 13: REFERENCES
X. Wang, T. Zhao, and A. Parisio, ‘‘Frequency regulation and congestion management by virtual storage plants,’’ Sustain. Energy, Grids Newt., Vol. 29, Mar. 2022, Art. no. 100586.
K. Qu, X. Zheng, X. Li, C. Lv, and T. Yu, ‘‘Stochastic robust Realtime power dispatch with wind uncertainty using difference-of-convexity optimization,’’ IEEE Trans. Power Syst., vol. 37, no. 6, pp. 4497–4511,Nov. 2022.
V. K. Prajapati and V. Mahajan, ‘‘Demand response based congestion management of power system with uncertain renewable resources,’’ Int.J. Ambient Energy, vol. 43, no. 1, pp. 103–116, Dec. 2022.
A. Agrawal, S. N. Pandey, L. Srivastava, P. Walde, S. Singh, B. Khan, and R. K. Saket, ‘‘Hybrid deep neural network-based generation rescheduling for congestion mitigation in spot power market,’’ IEEE Access, vol. 10,pp. 29267–29276, 2022